Serial Commands:

start	Starts printing data to serial: / Time since reset, temperature of thermistors 1, 2 and 3, temperature difference between thermistors 2 and 3, power output, integral value.
stop	Stops printing data to serial.
setpoint=	Prints set-point.
kp=	Prints proportional gain.
ki=	Prints integral gain.
kd=	Prints derivative gain.
settings=	Prints current settings: / set-point, proportional gain, integral gain, derivative gain, temperature / difference between set-point and temperature, integral value.
setpoint=[value]	Changes set-point to specified value.
kp=[value]	Changes proportional gain to specified value.
ki=[value]	Changes integral gain to specified value.
kd=[value]	Changes derivative gain to specified value.
pump=on	Turns pump on.
pump=off	Turns pump off.